Lung function cleaning procedure for 1989, 1999 and 06-10

1989

Three measures were taken for both FEV and FVC.

1999

Two measures were taken for FEV and FVC and an assessment given by the nurse as to whether the technique was satisfactory or not.

2006-10

Two measures were taken for FEV and FVC and an assessment given by the nurse as to whether the technique was satisfactory or not.

Step 1

The values were converted to litres (Divide values by 100)

Any values less than 0.30 and more than 9.0 were considered outliers and excluded (these values are considered implausible according to medical practice but have been retained in data file to allow for comparative investigation and checks on potential bias).

In 1999 and 2006/10 those who had ‘unsatisfactory’ techniques were also excluded.

Step 2

The maximum valid value recorded from each study member was computed. If there was only 1 valid measure then this was counted as the ‘maximum’ value; if there were two or more valid values then the maximum was the highest of all the valid values for that study member.

Step 3

The maximum value from the 3 measures was generated provided there were at least 2 valid measures available. (i.e. those who only gave one valid measurement were excluded)

Step 4

Using the Quanjer method [1]

If the difference between the maximum two blows is more than 0.30 L the respondent is this is considered to be an outlier and should be removed.

Step 5

Using the ATS method [2]

The ATS has stricter criteria than the Quanjer method. If the difference between the maximum two blows is more than 0.15 L the respondent is this is considered to be an outlier and should be removed.

Optional

Comparing the NSHD distribution to other European cohorts it appears that the NSHD is systematically lower than these cohorts.

Orfei et al [3] have used the following correction when comparing the 1946 cohort to the 1958 cohort:  0.24L is added to FEV1 and 0.34L to FVC.

Figure 1: Flowchart explaining the cleaning stages and numbers

excluded in various stages for the 1989 variables.

Available measures for each variable

Clear outliers excluded

Measures after removing clear outliers
(FEV189u, FEV289u, FEV389u, FVC189u, 
 FVC289u, FVC389u)

Maximum values generated for those individual

who have at least 2 measures
(FEV89u, FVC89u)

Number of outliers removed by using the Quanjer method

(difference of more than 0.3L between the maximum blows)

and final sample size ready for analysis if this method

is chosen(FEV89s, FVC89s)

Number of outliers removed by using the ATS method

(difference of more than 0.15L between the maximum blows)

and final sample size ready for analysis if this method is

chosen (variables FEV89ats, FVC89ats)

Figure 2: a flowchart explaining the cleaning stages and numbers

excluded in various stages for the 1999 variables.

Available measures for each variable

Unsatisfactory techniques excluded

Clear outliers excluded

Measures after removing clear outliers

and unsatisfactory techniques

Maximum values generated for those individual

who have at least 2 measures

Number of outliers removed by using the Quanjer method

(difference of more than 0.3L between the maximum blows)

and final sample size ready for analysis if this method

is chosen(FEV99S, FVC99S)

Number of outliers removed by using the ATS method

(difference of more than 0.15L between the maximum blows)

and final sample size ready for analysis if this method is

chosen (variables FEV99ATS FVC99ATS)

Figure 3: a flowchart explaining the cleaning stages and numbers

excluded in various stages for the 2006/10 variables.

Available measures for each variable

Unsatisfactory techniques excluded

Clear outliers excluded

Measures after removing clear outliers

and unsatisfactory techniques

Maximum values generated for those individual

who have at least 2 measures

Number of outliers removed by using the Quanjer method

(difference of more than 0.3L between the maximum blows)

and final sample size ready for analysis if this method

is chosen(FEV09S, FVC09S)

Number of outliers removed by using the ATS method

(difference of more than 0.15L between the maximum blows)

and final sample size ready for analysis if this method is

chosen (variables FEV09ATS, FVC09ATS)

1-Quanjer PhH (ed.) Standardized lung function testing. Bull Eur Physiopathol Respir 1983; 19 suppl. 5:   1-95

2- M.R. Miller, J. Hankinson, V. Brusasco, F. Burgos, R. Casaburi, A. Coates,R. Crapo, P. Enright,C.P.M. van der Grinten, P. Gustafsson, R. Jensen,D.C. Johnson, N. MacIntyre, R. McKay, D.Navajas, O.F. Pedersen, R. Pellegrino,G. Viegi and J. Wanger.. Eur Respir J 2005; 26: 319–338

3- L Orfei , D P Strachan,  A R Rudnicka, M E J Wadsworth. Early influences on adult lung function in two national British cohorts. Arch Dis Child 2008;93:570-574