# Documentation - I46_simoaBloods – Insight46 phase 1

## For Submission to the NSHD Scientific Support Team

| Categories of variables*: (may be more than one) | Simoa blood biomarkers tested on phase 1 plasma and serum samples from the LWBL/UKDRI biobank |
| --- | --- |
| List any papers in which cleaned/derived variables have been used | 1. Blood and cerebrospinal fluid biomarkers in Alzheimer’s disease – from clinical to preclinical cohorts. PhD thesis (Ashvini Keshavan). 2. Plasma amyloid, tau and serum neurofilament light chain in Insight 46 – associations with cognition and brain imaging. AAIC 2019 poster (Keshavan et al.) 3. The Insight 46 Cohort – Relationships with Cerebral PET Amyloid positivity Using Two Independent Methods for Plasma Amyloid Beta Measurement. AAIC 2019 Featured Research Session Oral presentation. (Schott et al.) |

Methods (taken from reference 1 above):

Serum was chosen for NFL analysis and plasma for analysis of the other three biomarkers (total tau, Aβ40 and Aβ42) as per the recommendations from our prior publication detailing plasma vs serum comparisons of quantifications of Simoa blood biomarkers in other samples (Keshavan et al. 2018, Alzheimer’s and Dementia, Diagnosis, Assessment and Disease monitoring).

For serum NFL analysis: a single 500 μL aliquot of serum for each individual

was thawed directly to room temperature over 1 hour and vortexed for 2

seconds to ensure thorough mixing. 200 μL was pipetted into a 1.5 ml

polypropylene centrifuge tube and centrifuged at 13 000 g for 10 minutes, as

per the kit manufacturer’s recommendation; the remaining 300 μL was replaced

into -80 ºC in the original cryovial. After the 200 μL was centrifuged, 130 μL of

the supernatant was pipetted onto the plate for analysis in duplicate. If the

coefficient of variation (CV) across the duplicates was >15% or no value was

returned for either, the procedure above was repeated at a later date,

employing one additional freeze-thaw cycle by starting with the 300 μL volume

that was in the original cryovial. At this point all 500 individuals who had blood

sampling had a serum NFL value quantified with a CV <15%.

For plasma Aβ40 and Aβ42 analysis: a single 500 μL aliquot of plasma for each

individual was thawed directly to room temperature over 1 hour and vortexed for

2 seconds. 300 μL was pipetted into a 1.5 ml polypropylene centrifuge tube and

centrifuged at 13 000 g for 10 minutes as per the kit manufacturer’s

recommendation; the remaining 200 μL was replaced into -80 ºC in the original

cryovial. After the 300 μL was centrifuged, 100 μL of the supernatant was

pipetted onto each of two plates for analysis in duplicate, capitalising on the

ability to load two different reagent kits at a time on the HD-1 analyser. When

plates of samples for analysis of Aβ40 and Aβ42 were prepared in this way, the

plate containing samples for Aβ40 was always analysed first, and that

containing samples for Aβ42 was analysed second. The CV across the

duplicates was <15% for all samples assayed for Aβ40 but for some samples

assayed for Aβ42 the CV was >15% or no value was returned. In this case the

procedure above was repeated at a later date, using a fresh 500 μL aliquot of

plasma and pipetting out and centrifuging 200 μL then pipetting 100 μL of the

supernatant onto the plate for Aβ42 analysis.

For plasma t-tau analysis: if only one aliquot of plasma had been used for Aβ42,

the second (fresh) 500 μL aliquot of plasma for each individual was used for

assaying total tau and the steps undertaken to prepare the sample thereafter

were identical to those described above for serum NFL. However, if the Aβ42

assay was being repeated on the second aliquot, then on the same thaw of this

sample, after vortexing for 2 seconds, 200 μL was pipetted into a separate 1.5

ml polypropylene centrifuge tube and used for plasma t-tau analysis in parallel.

In this situation, the plate of samples for analysis of Aβ42 was analysed first and

the plate for analysis of t-tau second. If the CV across duplicates was >15% on

the first analysis of t-tau, the analysis was repeated at a later date, employing

one additional freeze-thaw cycle by starting with the 300 μL volume that was in

the original cryovial.

By this method, all samples analysed for plasma Aβ40 and Aβ42 underwent

one freeze-thaw cycle; 59 samples analysed for plasma t-tau and 72 samples

analysed for serum NFL underwent two freeze-thaw cycles. This procedure was

deemed to be acceptable based on the evidence that up to four freeze-thaw

cycles do not affect measured plasma t-tau or serum NFL concentrations for

these assays (Keshavan et al. 2018, Alzheimer’s and Dementia, Diagnosis, Assessment and Disease monitoring).

For each blood biomarker, all aliquots were assayed using the same batch of reagents

excepting the last plate of samples, which were those requiring repeat analysis.

Every plate was analysed according to its own calibrators (made from the stock

solution provided in the kit), and included two run validation controls also made

from this stock. The measured values of the two controls used in each case had

an inter-plate CV of <30% so all plates were deemed acceptable for inclusion in

the statistical analysis. Details of the commercially available Simoa total tau 2.0,

NF-light, Aβ40 and Aβ42 assays are given in the kit inserts and they were all used as per the manufacturer’s instructions. All measurements were conducted by the same individual (Dr Ashvini Keshavan) on the same automated HD-1 analyser (Quanterix)

at the UK DRI laboratory at UCL.

Where no aliquot of plasma or serum was available in the biobank for a given individual (due to failure of blood sampling or incomplete blood sampling) the variables plasma_available and serum_available indicate this. For the blood biomarker variables, the code -99 indicates:

1. in the case where an aliquot was available: the coefficient of variation across the duplicates was above 15% and therefore the quantification was unreliable.

2. in the case where an aliquot was not available: no quantification was performed.

It is recommended that prior to making a request for any of these variables, researchers discuss the plan with Dr Ashvini Keshavan.