# Documentation - I46_simoaGothenburg – Insight46 wave 1

| Categories of variables*: (may be more than one) | Simoa blood biomarkers tested on phase 1 plasma and serum samples from the LWBL/UKDRI biobank |
| --- | --- |
| List any papers in which cleaned/derived variables have been used | 1. Keshavan A, Pannee J, Karikari TK et al. Population-based blood screening for preclinical Alzheimer's disease in a British birth cohort at age 70. Brain. 2021 Jan 22. pii: 6105867. doi: 10.1093/brain/awaa403. |

Methods

General assay methods are described in Karikari et al 2020, Lancet Neurology.

For plasma p-tau181 quantification in Insight 46, specific methods are taken from reference 1 above as follows: a 0.5 mL aliquot of plasma for each individual was transported on solid carbon dioxide to the University of Gothenburg, Sweden; samples were immediately stored at -80  C until use. On the day of the analysis, the blood samples were allowed to thaw at room temperature for an hour, vortexed at 200 rpm for 30 s, and centrifuged at 4000 g for 10 min, then 90 μL of the supernatant was used for p-tau181 measurements. Separate anonymized plasma samples from the University of Gothenburg, pooled to give two different p-tau181 concentrations, were used as internal quality control (iQC) samples, and were processed identically to the test samples. Each iQC sample was analyzed in duplicate at the start and the end of each plate. Combined iQC data from eight separate runs were used to determine the within- and between-run variations, following the recommendations of an international group of neurochemists (Andreasson et al., 2015).

The high-concentration iQC sample (concentration expressed in mean,   standard deviation =17.1, 0.7 pg/mL) had a within-run variation of 0.4% and a between-run variation of 10.3%.

For the low-concentration iQC sample (concentration = 4.8, 0.5 pg/mL), the within- and between-run variations were 10.9% and 13.0% respectively. Identical batches of assay reagents were used throughout the measurements for this cohort.

Notes on sample availability for analysis

Where no aliquot of plasma or serum was available in the biobank for a given individual (due to aliquots having been used up or failure of blood sampling or incomplete blood sampling) the variable plasma_available_ptau181_Got indicates this. For the blood biomarker variables, the code -99 indicates no quantification was performed.

It is recommended that prior to making a request for these variable researchers discuss the plan with Dr Ashvini Keshavan.