# CLEANED/DERIVED VARIABLE METADATA TOP SHEET

## For Submission to the NSHD Scientific Support Team

| Name of person responsible for cleaning/derivation: | Andy Wong |
| --- | --- |
| Categories of variables*: (may be more than one) | Biomarkers |
| Summary of work undertaken | Cleaning / Derivation / Both± Description/Rationale: Cleaning: IDs in dataset (barcode) needed to be matched to ntag1 using previous datasets. Data check for missing data and values below the lower limit of detection (<1.1pg/ml). |

* See list of categories on Swift
± Please delete as appropriate

Lab methods:

One cardiovascular (CV) measures – Troponin-I was analysed at the BHF Cardiovascular Research Centre, University of Bristol.  Results for 2056 samples were returned.

QC samples from the manufacturer were run during the assay, but no QC checks for individual samples, as these tests are not as sensitive to moderate haemolysis.

Methods used to conduct blood assays at BHF Glasgow

| Code | Full name | Method principle | Manufacturer |
| --- | --- | --- | --- |
| hsTnI | High sensitivity Troponin-I | Chemiluminescent microparticle immunoassays (CMIA) | Abbot hsTnI, Architect i1000 analyser |

Manufacturer limits of detection, limit of quantitation, and coefficient of variation for each assay

| Code | Manufacturer limits of detection | %CV | Manufacturer Limit of Quantitation (CV >20% below this point) | Disease Thresholds |
| --- | --- | --- | --- | --- |
| hsTnI | 1.1-50000 pg/ml | Low: 9./7 Med: 8.8 Hi: 9.4 | 1.3 pg/ml | NICE guidelines indicate the rule out threshold for acute MI at a hs cardiac troponin I of 15.6 pg/ml for women and 34.2 pg/ml for men. |